## 设备批量导入
U位 | [A01] | A01-设备 | [A02] | A02-设备 | [A03] | A03-设备 | [B01] | B01-设备 | [B02] | B02-设备 | [B03] | B03-设备
47 | [10 empty] | 47 | CISCO-N9K-C9336C
46 | [10 empty] | 46 | CISCO-N9K-C9336C
45 | [10 empty] | 45 | Arista-7280SR3
44 | [10 empty] | 44 | Arista-7280SR3
43 | [10 empty] | 43
42 | 42 | XZX-ASA5585-NGFW | 42 | H3C-S12516-X | 42 | CISCO-N7K-C7018 | 42 | H3C-S9820-8C | 42 | DELL-PowerEdge-XE9680 | 42 | Juniper-QFX5220
41 | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41
40 | 40 | CISCO-N7K-C7010 | 40 |  | 40 | DELL-R760 | 40 | DELL-PowerEdge-R7625 | 40 |  | 40 | Juniper-QFX5220
39 | 39 |  | 39 |  | 39 | DELL-R760 | 39 | DELL-PowerEdge-R7625 | 39 |  | 39
38 | 38 | H3C-S12508-X | 38 | CISCO-N9K-C9508 | 38 | DELL-R760 | 38 |  | 38 |  | 38 | H3C-S6800-54QF
37 | 37 |  | 37 |  | 37 |  | 37 | Huawei-OceanStor-5310 | 37 |  | 37 | H3C-S6800-54QF
36 | 36 |  | 36 | DELL-R750XA | 36 | HP-Synergy-12000 | 36 |  | 36 | Huawei-Atlas-900 | 36 | H3C-S6800-54QF
35 | 35 | CISCO-N7K-C7010 | 35 | DELL-R750XA | 35 |  | 35 | Huawei-OceanStor-5310 | 35 |  | 35
34 | 34 |  | 34 | DELL-R750XA | 34 |  | 34 |  | 34 |  | 34 | DELL-S5248F-ON
33 | 33 |  | 33 |  | 33 |  | 33 | Inspur-AS13000 | 33 |  | 33 | DELL-S5248F-ON
32 | 32 | DELL-R740XD | 32 | Huawei-TaiShan-200 | 32 | Inspur-NF5688M6 | 32 |  | 32 | Inspur-NF5888M6 | 32 | HP-Aruba-8325-48Y8C
31 | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 | HP-Aruba-8325-48Y8C
30 | 30 | DELL-R740XD | 30 | Huawei-TaiShan-200 | 30 | Inspur-NF5688M6 | 30 | Supermicro-8049U | 30 | Inspur-NF5888M6 | 30
29 | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 | Cisco-Nexus-93180YC
28 | 28 | DELL-R740XD | 28 | HP-DL560-Gen11 | 28 | Huawei-KunLun-9008 | 28 | Supermicro-8049U | 28 | Supermicro-SYS-821GP | 28
27 | 27 | HP-DL380-Gen10 | 27 |  | 27 |  | 27 |  | 27 |  | 27 | Cisco-Nexus-93180YC
26 | 26 | HP-DL380-Gen10 | 26 | HP-DL560-Gen11 | 26 |  | 26 | HP-StoreEasy-1860 | 26 | Supermicro-SYS-821GP | 26
25 | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 | Huawei-CE6857-48S6CQ
24 | 24 | Supermicro-2029U | 24 | Inspur-NF8480M6 | 24 | DELL-PowerEdge-XR8620 | 24 | HP-StoreEasy-1860 | 24 | DELL-R750XA-GPU | 24 | Huawei-CE6857-48S6CQ
23 | 23 | Supermicro-2029U | 23 |  | 23 | DELL-PowerEdge-XR8620 | 23 |  | 23 |  | 23
22 | 22 |  | 22 |  | 22 |  | 22 | DELL-EMC-Unity-XT | 22 | DELL-R750XA-GPU | 22 | PaloAlto-PA-5450
21 | 21 | Inspur-NF5280M5 | 21 |  | 21 | Lenovo-SR850-V3 | 21 |  | 21 |  | 21 | PaloAlto-PA-5450
20 | 20 |  | 20 | DELL-R650XS | 20 |  | 20 |  | 20 | H3C-R5300-G6 | 20
19 | 19 | Inspur-NF5280M5 | 19 | DELL-R650XS | 19 | Lenovo-SR850-V3 | 19 | Cisco-MDS-9396S | 19 |  | 19 | Fortinet-FortiGate-2600F
18 | 18 |  | 18 |  | 18 |  | 18 | Cisco-MDS-9396S | 18 | H3C-R5300-G6 | 18
17 | 17 | IBM-Power-S922 | 17 | Supermicro-6029U | 17 | Supermicro-SYS-420GP | 17 |  | 17 |  | 17 | Fortinet-FortiGate-2600F
16 | 16 |  | 16 | Supermicro-6029U | 16 |  | 16 | Lenovo-DE6000H | 16 | Lenovo-SR675-V3 | 16
15 | 15 | Huawei-2288H-V6 | 15 |  | 15 | Supermicro-SYS-420GP | 15 |  | 15 |  | 15 | F5-BIG-IP-i15800
14 | 14 | Huawei-2288H-V6 | 14 | H3C-UniServer-R4900 | 14 |  | 14 | Lenovo-DE6000H | 14 | Lenovo-SR675-V3 | 14
13 | 13 | Huawei-2288H-V6 | 13 |  | 13 | H3C-R4900-G5 | 13 |  | 13 |  | 13 | F5-BIG-IP-i15800
12 | 12 |  | 12 | H3C-UniServer-R4900 | 12 |  | 12 | H3C-UniStor-CF8820 | 12 | HP-ProLiant-XL675d | 12
11 | 11 | Cisco-UCS-B200 | 11 |  | 11 | H3C-R4900-G5 | 11 |  | 11 |  | 11 | CheckPoint-6800
10 | 10 |  | 10 | Lenovo-ThinkSystem-SR860 | 10 |  | 10 | H3C-UniStor-CF8820 | 10 | HP-ProLiant-XL675d | 10 | CheckPoint-6800
9 | 9 | Cisco-UCS-B200 | 9 |  | 9 | Cisco-UCS-C245-M8 | 9 |  | 9 |  | 9
8 | 8 |  | 8 | DELL-PowerEdge-R660 | 8 | Cisco-UCS-C245-M8 | 8 | DELL-R740XD2 | 8 | DELL-R6525-GPU | 8 | DELL-PowerEdge-R660-SDN
7 | 7 | DELL-PowerEdge-R750 | 7 | DELL-PowerEdge-R660 | 7 |  | 7 |  | 7 | DELL-R6525-GPU | 7
6 | 6 | DELL-PowerEdge-R750 | 6 |  | 6 | DELL-R660 | 6 | DELL-R740XD2 | 6 | DELL-R6525-GPU | 6 | DELL-PowerEdge-R660-SDN
5 | 5 |  | 5 | Cisco-UCS-C240-M7 | 5 | DELL-R660 | 5 |  | 5 |  | 5
4 | 4 | Lenovo-SR650 | 4 |  | 4 |  | 4 | HP-Apollo-4200 | 4 | Cisco-UCS-X410C | 4 | Lenovo-SE350-Edge
3 | 3 |  | 3 | Cisco-UCS-C240-M7 | 3 | HP-ProLiant-DL325 | 3 |  | 3 |  | 3 | Lenovo-SE350-Edge
2 | 2 | Lenovo-SR650 | 2 |  | 2 |  | 2 | HP-Apollo-4200 | 2 | Cisco-UCS-X410C | 2 | Lenovo-SE350-Edge
1 | 1 |  | 1 | Huawei-FusionServer-2488 | 1 | HP-ProLiant-DL325 | 1 |  | 1 |  | 1 | RaspberryPi-PDU-Monitor